The Islamia University of Bahawalpur

PROCUREMENT OF LAB EQUIPMENTS FOR CHEMISTRY DEPARTMENT

TENDER-A FORM

- Name of Firm: __________________________________________________________________

- Mailing Address:_________________________________________________________________

- Phone No:	__________________ 4. Fax No: ______________________________________

5.   Tender Fee Challan No. &amount_____________CDR No.& Amount______________________

6.	General Sale Tax No:______________________  7. Income Tax No.________________________

8.   Professional Tax No:	 ___________________________________________________________

| Sr. # | Item | Qty | Rate per Item with all taxes |
| --- | --- | --- | --- |
| 1 | Personal Dosimeters For Materials Chemistry Laboratory Measurement range: dose rate: 0.01 µSv/h ~30mSv/h Cumulative dose: 0.00 µSv ~999.9mSv Energy range: 40Kev~1.5Mev Energy response error: ≤±30% (according to 137Cs) Relative basic error: ≤±10% Measuring time: automatic adjustment according to radiation, quick response Alarm value: 0.5, 1.0, 2.5, 10, 30, 50, 100, 500 µSv/h Protective alarm response time: ≤5 second Display: LCD Display unit: dose rate (µSv/h or mSv/h) and Cumulate dose (µSv or mSV)— Should be PC communicable. Battery powered/External powered with a long battery time. Should be light weight and wearable in Pocket or around the wrist. Should be water proof. Warranty: Comprehensive warranty including parts and readings should not be less than 3 years at no cost of the purchaser | 01No |  |
| 2 | Lead Apron for X-rays Protection Material Lead rubber, leather or coated Color Blue preferred Lead Equivalent 0.30-0.5mmpb Size Large (equivalent to 180 cm length) | 02Nos. |  |

Note: All the bidders are required to mention the details of their product being offered by them in the Technical proposal and also clearly mention the name & relevant major specifications of their offered product while quoting the financial bid as well. Mere reproduction of our tender documents will not serve the purpose and the bid may be liable to be rejected by the procuring agency in such cases.

Terms & Conditions

- All material supplied must be brand new strictly conforming to the given specifications .Old, reconditioned or refurbished equipment shall not be acceptable.

- Only certified dealers/distributors of the following manufacturers are eligible: A standard company from UK, USA, Japan, Singapore, Korean and Europe etc..

- Prices should be FOR delivery to the Cholistan Institute of Desert Studies, The Islamia University of

Bahawalpur. If the items supplied are not according to the required specification/make it will have to be

replaced by the firms on  their own cost.

- Offer must be supported with comprehensive technical literature and specifications in original (English) for the

materials/goods offered.

- Validity of rate should be for 90 days from the date of opening of tenders.

- The vendors will be responsible for any damages during Transit/Delivery. They will also be responsible for

any accident and their consequent damages.

Signature:	______________________

Name:		______________________

Designation:	______________________

Date:		______________________

Attachments:

Earnest Money draft 			(Yes/No)

Affidavit for non black listing 	(Yes/No)

Bid Validity 			(Yes/No)

Signed terms & conditions 		(Yes/No)

Note:  Bid shall be signed by the bidder/authorized person for bidder.

The Islamia University of Bahawalpur

PROCUREMENT OF LAB EQUIPMENTS FOR PHYSICS

TENDER-B FORM

- Name of Firm: __________________________________________________________________

- Mailing Address:_________________________________________________________________

- Phone No:	__________________ 4. Fax No: ______________________________________

5.   Tender Fee Challan No. &amount_____________CDR No.& Amount______________________

6.	General Sale Tax No:______________________  7. Income Tax No.________________________

8.   Professional Tax No:	 ___________________________________________________________

| Sr. # | Item | Qty | Rate per Item with all taxes |
| --- | --- | --- | --- |
| 1 | 6½-Digit USB Digital Multimeter for Seebeck System Specifications •15 measurement functions including capacitance, temperature, and digitizing • Expanded measurement ranges include 10 pA to 10 A and 1 μΩ to 100 MΩ • Large 5-inch (12.7 cm) multi-touch capacitive touchscreen with graphical display • Large internal memory; store up to 7 million readings • Multiple language modes: SCPI, TSPR scripting, • Two-year specifications allow for longer calibration cycles • Standard USB-TMC and LXI/Ethernet communication interfaces • Optional user-installable communication interfaces including: GPIB, TSP-LinkR, and RS-232 • Capture voltage or current transients with 1 MS/sec digitizer • USB host port for storing readings, instrument configurations, and screen images | 01No |  |

Note: All the bidders are required to mention the details of their product being offered by them in the Technical proposal and also clearly mention the name & relevant major specifications of their offered product while quoting the financial bid as well. Mere reproduction of our tender documents will not serve the purpose and the bid may be liable to be rejected by the procuring agency in such cases.

Terms & Conditions

- All material supplied must be brand new strictly conforming to the given specifications .Old, reconditioned or refurbished equipment shall not be acceptable.

- Only certified dealers/distributors of the following manufacturers are eligible: A standard company from UK, USA, Japan, Singapore, Korean and Europe etc..

- Prices should be FOR delivery to the Cholistan Institute of Desert Studies, The Islamia University of

Bahawalpur. If the items supplied are not according to the required specification/make it will have to be

replaced by the firms on  their own cost.

- Offer must be supported with comprehensive technical literature and specifications in original (English) for the

materials/goods offered.

- Validity of rate should be for 90 days from the date of opening of tenders.

- The vendors will be responsible for any damages during Transit/Delivery. They will also be responsible for

any accident and their consequent damages.

Signature:	______________________

Name:		______________________

Designation:	______________________

Date:		______________________

Attachments:

Earnest Money draft 			(Yes/No)

Affidavit for non black listing 	(Yes/No)

Bid Validity 			(Yes/No)

Signed terms & conditions 		(Yes/No)

Note:  Bid shall be signed by the bidder/authorized person for bidder.

The Islamia University of Bahawalpur

PROCUREMENT OF LAB EQUIPMENTS FOR PHYSICS

TENDER-C FORM

- Name of Firm: __________________________________________________________________

- Mailing Address:_________________________________________________________________

- Phone No:	__________________ 4. Fax No: ______________________________________

5.   Tender Fee Challan No. &amount_____________CDR No.& Amount______________________

6.	General Sale Tax No:______________________  7. Income Tax No.________________________

8.   Professional Tax No:	 ___________________________________________________________

| Sr. # | Item | Qty | Rate per Item with all taxes |
| --- | --- | --- | --- |
| 1 | Oscilloscope Bandwidth = 70 MHz, Channels = 2, Sample rate on each channel = 1.0 GS/s Record length = 2.5k points at all-time bases | 01No |  |
| 2 | Power Supply Manual Triple Channel DC PS, Number of Outputs = 3, Maximum Voltage = 30V Maximum Current = 3A, Maximum Power = 195W, Connectivity = USB Current Read back Resolution = 1mA |  |  |
| 3 | Digital Multimeter Maximum Resolution = 5.5, Maximum Reading Speed (per second) = <= 50k Connectivity= USB (TMC) / GPIB |  |  |
| 4 | Transformer Center taped transformers, Input voltage = 240 Volts, Output voltage = 12 Volts |  |  |
| 5 | project Board Capable to get mounted the basic electronics components (for example, diodes, transistors, resistors etc.) |  |  |
| 6 | (BNC) oscilloscope cable Bayonet Neill-Concelman (BNC) connector carrying cables should be compatible with education purpose oscilloscope |  |  |
| 7 | Connecting wires with banana plugs on both sides Useable for basic electronics experiments |  |  |
| 8 | Connecting wires with Crocodile clips and banana plugs Useable for basic electronics experiments |  |  |
| 9 | Hook up wire rollUseable for basic electronics experiments |  |  |
| 10 | Hand held digital multimeter Must be capable to measure the AC/DC voltage, current, resistance, capacitance, and diode/transistor testing |  |  |

Note: All the bidders are required to mention the details of their product being offered by them in the Technical proposal and also clearly mention the name & relevant major specifications of their offered product while quoting the financial bid as well. Mere reproduction of our tender documents will not serve the purpose and the bid may be liable to be rejected by the procuring agency in such cases.

Terms & Conditions

- All material supplied must be brand new strictly conforming to the given specifications .Old, reconditioned or refurbished equipment shall not be acceptable.

- Only certified dealers/distributors of the following manufacturers are eligible: A standard company from UK, USA, Japan, Singapore, Korean and Europe etc..

- Prices should be FOR delivery to the Cholistan Institute of Desert Studies, The Islamia University of

Bahawalpur. If the items supplied are not according to the required specification/make it will have to be

replaced by the firms on  their own cost.

- Offer must be supported with comprehensive technical literature and specifications in original (English) for the

materials/goods offered.

- Validity of rate should be for 90 days from the date of opening of tenders.

- The vendors will be responsible for any damages during Transit/Delivery. They will also be responsible for

any accident and their consequent damages.

Signature:	______________________

Name:		______________________

Designation:	______________________

Date:		______________________

Attachments:

Earnest Money draft 			(Yes/No)

Affidavit for non black listing 	(Yes/No)

Bid Validity 			(Yes/No)

Signed terms & conditions 		(Yes/No)

Note:  Bid shall be signed by the bidder/authorized person for bidder.

The Islamia University of Bahawalpur

PROCUREMENT OF LAB EQUIPMENTS FOR PLANT PATHOLOGY

TENDER-D FORM

- Name of Firm: __________________________________________________________________

- Mailing Address:_________________________________________________________________

- Phone No:	__________________ 4. Fax No: ______________________________________

5.   Tender Fee Challan No. &amount_____________CDR No.& Amount______________________

6.	General Sale Tax No:______________________  7. Income Tax No.________________________

8.   Professional Tax No:	 ___________________________________________________________

| Sr. # | Item | Qty | Rate per Item with all taxes |
| --- | --- | --- | --- |
| 1 | Laminar Air Flow Hood Digital microprocessor control. Internal Dimension (WxDxH) in mm: 1200 x 645 x 610 Pre-filter: Disposable, non-washable polyester filter. Filter efficiency: > 99.999% at 0.3um Airflow velocity: average of 0.3 to 0.5m/s. Noise level: <60dBA. Fluorescent lamp: 28W. UV Lamp: 30W with safety system. Motorized front sash: Tempered glass, no less than 5mm, anti-ultraviolet radiation. Main Body Material: Adopting cold roll steel plate with corrosion proof coating with base stand. Power: 220V, 50Hz EEC, USA, UK, Japan | 01No |  |
| 2 | Incubator Digital microprocessor controlled. Natural air convection, chamber capacity: 112 Liters, stainless steel interior & exterior, solid door, temperature range: 5°C above ambient temperature...+100°C, temperature resolution every: 0,1°C, LCD graphic display with illuminated touch buttons, automatic air-flap control, six-segment temperature-time profile, 2 stainless steel wire shelves, access port, test results memory, open door alarm, door lock, logging with graph, internal glass door. EEC, USA, UK, Japan | 01 No. |  |

Note: All the bidders are required to mention the details of their product being offered by them in the Technical proposal and also clearly mention the name & relevant major specifications of their offered product while quoting the financial bid as well. Mere reproduction of our tender documents will not serve the purpose and the bid may be liable to be rejected by the procuring agency in such cases.

Terms & Conditions

- All material supplied must be brand new strictly conforming to the given specifications .Old, reconditioned or refurbished equipment shall not be acceptable.

- Only certified dealers/distributors of the following manufacturers are eligible: A standard company from UK, USA, Japan, Singapore, Korean and Europe etc..

- Prices should be FOR delivery to the Cholistan Institute of Desert Studies, The Islamia University of

Bahawalpur. If the items supplied are not according to the required specification/make it will have to be

replaced by the firms on  their own cost.

- Offer must be supported with comprehensive technical literature and specifications in original (English) for the

materials/goods offered.

- Validity of rate should be for 90 days from the date of opening of tenders.

- The vendors will be responsible for any damages during Transit/Delivery. They will also be responsible for

any accident and their consequent damages.

Signature:	______________________

Name:		______________________

Designation:	______________________

Date:		______________________

Attachments:

Earnest Money draft 			(Yes/No)

Affidavit for non black listing 	(Yes/No)

Bid Validity 			(Yes/No)

Signed terms & conditions 		(Yes/No)

Note:  Bid shall be signed by the bidder/authorized person for bidder.

The Islamia University of Bahawalpur

PROCUREMENT OF LAB EQUIPMENTS FOR PLANT BREEDING

TENDER-E FORM

- Name of Firm: __________________________________________________________________

- Mailing Address:_________________________________________________________________

- Phone No:	__________________ 4. Fax No: ______________________________________

5.   Tender Fee Challan No. &amount_____________CDR No.& Amount______________________

6.	General Sale Tax No:______________________  7. Income Tax No.________________________

8.   Professional Tax No:	 ___________________________________________________________

| Sr. # | Item | Qty | Rate per Item with all taxes |
| --- | --- | --- | --- |
| 1 | Ginning Machine Specifications: Small Roller Ginning Machine, Roller Size 21" Height 33", Width 24" , Length 24", German Blade, Electric Motor 1HP Lint & Seed Box Complete | 01No |  |

Note: All the bidders are required to mention the details of their product being offered by them in the Technical proposal and also clearly mention the name & relevant major specifications of their offered product while quoting the financial bid as well. Mere reproduction of our tender documents will not serve the purpose and the bid may be liable to be rejected by the procuring agency in such cases.

Terms & Conditions

- All material supplied must be brand new strictly conforming to the given specifications .Old, reconditioned or refurbished equipment shall not be acceptable.

- Only certified dealers/distributors of the following manufacturers are eligible: A standard company from UK, USA, Japan, Singapore, Korean and Europe etc..

- Prices should be FOR delivery to the Cholistan Institute of Desert Studies, The Islamia University of

Bahawalpur. If the items supplied are not according to the required specification/make it will have to be

replaced by the firms on  their own cost.

- Offer must be supported with comprehensive technical literature and specifications in original (English) for the

materials/goods offered.

- Validity of rate should be for 90 days from the date of opening of tenders.

- The vendors will be responsible for any damages during Transit/Delivery. They will also be responsible for

any accident and their consequent damages.

Signature:	______________________

Name:		______________________

Designation:	______________________

Date:		______________________

Attachments:

Earnest Money draft 			(Yes/No)

Affidavit for non black listing 	(Yes/No)

Bid Validity 			(Yes/No)

Signed terms & conditions 		(Yes/No)

Note:  Bid shall be signed by the bidder/authorized person for bidder.

The Islamia University of Bahawalpur

PROCUREMENT OF LAB EQUIPMENTS FOR PHYSICS

TENDER-F FORM

- Name of Firm: __________________________________________________________________

- Mailing Address:_________________________________________________________________

- Phone No:	__________________ 4. Fax No: ______________________________________

5.   Tender Fee Challan No. &amount_____________CDR No.& Amount______________________

6.	General Sale Tax No:______________________  7. Income Tax No.________________________

8.   Professional Tax No:	 ___________________________________________________________

| Sr. # | Item | Qty | Rate per Item with all taxes |
| --- | --- | --- | --- |
| 1 | Hematology Analyzer /Blood Analyzer Laser light multi-dimensional cell classification Resistant RBC mode WIC and WOC for WBC counting Up to 60 samples per hour throughput WBC 5 part diff with sheath reagent only Support both whole blood and capillary blood samples Four reagents for 25 parameters Semi-conductor laser Auto Hematology Analyzer uses semi-conductor laser for the flow cytometer system. Through calculations of different angles via laser scatters, the instrument provides complete analysis including cell size, granularity and complexity. One channel give complete differentiate WBC counts lymphocyte, monocyte, neutrophil, eosinophil and basophil in WOC channel. 3D stereograms Not only scatter grams but also 3D stereograms that the WBC differentiation would be presented on different views. Specification 28 parameters WBC,LYM%,MON%,NEU%,EOS%,BASO%,LYM#,MON#,NEU#,EOS#,BAS#,RBC,HGB, HCT,MCV,MCH,MCHC,RDW_CV,RDW_SD,PLT,MPV,PDW,PCT,P_LCR,P_LCC, RETIC_ABS,RETIC, IRF 2 Histograms for RBC and PLT 2 Scatter grams: 5-part differential scatter gram Eosinophils and Moutrophils scatter gram 2 3-D stereograms Principles ofoperation WBC/DIFF: Flow Cytometry, Laser light multi-dimensional cell classification WBC Analysis: Optical and impedance measurements RBC/PLT Analysis: Impedance method HGB test: Cyanide-free reagent colorimetry Reagent Diluent, Sheath, Detergent ,Lyse Sampling modes Whole blood : 20μL Pre-diluent : 20μL Aperture Diameter WBC 100μm，RBC/PLT 68μm Throughput Whole blood : up to 60 samples per hour Pre-diluent : up to 60 samples per hour Data storage Up to 200,000 sample results with grams Alarms Error messages Dimension 598.5MM(L)×585.5MM(W)×488.5MM(H) | 01No |  |
| 2 | UV/VISDouble Beam Spectrophotometer With analysis software. The newly designed double been spectrophotometer successfully realize high accuracy and reliability measurement to meet various application requirements. It can be used extensively for qualitative and quantitative analysis in such fields as biochemical research and industry, pharmaceutical analysis and production, education, environmental protection, food industry, clinical examination, sanitation and ant epidemic etc. Optical System Rowland off-circle arrangement Single monochromator Double beam type Light source Halogen lamp, Deuterium lamp Wavelength range 185 to 1100 nm Wavelength accuracy +/-0.2 nm (at 656.1 nm) Wavelength repeatability +/-0.1 nm Spectral bandwidth (SBW) 1 nm Stray light 1 % (198 nm KCL 12 g/L aqueous solution) 0.02 % (220 nm NaI 10 g/L aqueous solution) 0.02 % (340 nm NaNO2 50 g/L aqueous solution) 0.02 % (370 nm NaNO2 50 g/L aqueous solution) SBW: 1 nm Photometric range -3~3 Abs Photometric accuracy +/-0.0015 Abs (0 to 0.5 Abs) +/-0.0025 Abs (0.5 to 1 Abs) +/-0.3 %T Tested with NIST SRM 930D Photometric repeatability +/-0.0005 Abs (0 to 0.5 Abs) +/-0.0005 Abs (0.5 to 1 Abs) Tested with NIST SRM 930D Scanning speed 10-8000 nm/min Slew speed 24,000 nm/min RMS noise 0.00004 Abs (0 Abs, wavelength: 500 nm, measurement time: 60 sec, SBW: 1 nm) Baseline stability 0.0004 Abs/hour (Value obtained more than one hour after turning on the source, when the room temperature is stabilized, wavelength: 250 nm, response: slow) Baseline flatness +/-0.0005 Abs (200 - 1000 nm) Detector Silicon photodiode Standard functions IQ accessories, Start button, Analog output Standard programs Abs/%T meter, Quantitative analysis, Spectrum measurement, Time course measurement, Fixed wavelength measurement, Validation, Daily maintenance, Two wavelength time course measurement Dimensions and weight 486(W) x 441(D) x 216(H) mm, 15 kg Power requirements 120 VA Installation requirements Room temperature: 15-30 Celsius, humidity: below 85% |  |  |
| 3 | MultiparameterBenchtop pH/mV/ISE/EC/TDS/Salinity/Resistivity meter that is completely customizable with a large color LCD, capacitive touch keys, and USB port for computer connectivity. The is rich in features including ISE incremental methods, data logging, alarm limits, comprehensive GLP, and many more while retaining simplicity in use with both dedicated key for routine operation and virtual keys that guide the user through setup options. ensures confidence in pH measurements with the exclusive Instruments CAL Check™ feature that alerts the user to potential problems during calibration including if the buffer is contaminated or the probe needs to be cleaned. pH Range -2.0 to 20.0 pH / -2.00 to 20.00 pH / -2.000 to 20.000 pH pH Resolution 0.1 pH / 0.01 pH / 0.001 pH pH Accuracy ±0.1 pH / ±0.01 pH / ±0.002 pH ± 1LSD pH Calibration Up to five-point calibration, eight standard buffers available (pH 1.68, 3.00, 4.01, 6.86, 7.01,9.18, 10.01, 12.45), and five custom buffers pH Temperature Compensation automatic or manual from -20.0 to 120.0 °C mV Range ±2000.0 mV mV Resolution 0.1 mV mV Accuracy ±0.2 mV ± 1LSD Relative mV Offset ±2000.0 mV ISE Range e.g. 10-7 to 10M/ 0.005 to 105 ppm/ 5·10–7 to 5·107 conc ISE Resolution 1 conc./ 0.1 conc. / 0.01 conc. / 0.001 conc ISE Accuracy ±0.5% (monovalent ions); ±1% (divalent ions) ISE Calibration Up to five-point calibration, seven fixed standard solutions available for each measurement unit, and five custom solutions EC Range 0.000 to 9.999 μS/cm, 10.00 to 99.99 μS/cm, 100.0 to 999.9 μS/cm, 1.000 to 9.999 mS/cm, 10.00 to 99.99 mS/cm, 100.0 to 1000.0 mS/cm actual EC* EC Resolution 0.001 μS/cm, 0.01 μS/cm, 0.1 μS/cm, 1 μS/cm, 0.001 mS/cm, 0.01 mS/cm, 0.1 mS/cm EC Accuracy ±1% of reading (±0.01 μS/cm) EC Calibration automatic standard recognition (0.000 μS/cm, 84.00 μS/cm, 1.413 mS/cm, 5.000 mS/cm, 12.88 mS/cm, 80.00 mS/cm, 111.8 mS/cm) or user standard; single point or multi-point calibration TDS Range 0.000 to 9.999 ppm, 10.00 to 99.99 ppm, 100.0 to 999.9 ppm, 1.000 to 9.999 ppt, 10.00 to 99.99 ppt, 100.0 to 400.0 ppt actual TDS* (with 1.00 factor) TDS Resolution 0.001 ppm, 0.01 ppm, 0.1 ppm, 1 ppm, 0.001 ppt, 0.01 ppt, 0.1 ppt TDS Accuracy ±1% of reading (±0.01 ppm) EC/TDS Temperature Compensation Disabled / Linear / Non linear (natural water) Temperature Correction Coefficient 0.00 to 10.00 %/°C Reference Temperature 5.0 °C to 30.0 °C Cell Constant 0.0500 to 200.00 Cell Type 4 cells Salinity (% NaCl) Range 0.0 to 400.0% Salinity (% NaCl) Resolution 0.01% Salinity (% NaCl) Accuracy ±1% of reading Salinity (PSU) Range 0.00 to 42.00 psu Salinity (PSU) Resolution 0.01 Salinity (PSU) Accuracy ±1% of reading Salinity (PSU) Calibration one-point (with HI7037 standard) Salinity Range 0.00 to 80.00 ppt Salinity Resolution (ppt) 0.01 Salinity Accuracy (ppt) ±1% of reading Resistivity Range 1.0 to 99.9 Ω•cm; 100 to 999 Ω•cm; 1.00 to 9.99 KΩ•cm; 10.0 to 99.9 KΩ•cm; 100 to 999 KΩ•cm; 1.00 to 9.99 MΩ•cm; 10.0 to 100.0 MΩ•cm Resistivity Resolution 0.1 Ω•cm; 1 Ω•cm; 0.01 KΩ•cm; 0.1 KΩ•cm; 1 KΩ•cm; 0.01 MΩ•cm; 0.1 MΩ•cm* Resistivity Accuracy ±2% of reading (±1 Ω•cm) Temperature Range -20.0 to 120.0 ºC**; -4.0 to 248.0 ºF**; 253.15 to 393.15 K** Temperature Resolution 0.1 °C, 0.1 °F, 0.1 K Temperature Accuracy ±0.2 °C; ±0.4 °F; ±0.2 K (without probe) Input Channels 2 (pH/mV/ISE; Conductivity/Resistivity/TDS/ Salinity) pH Electrode glass body pH electrode with BNC connector and 1 m (3.3’) cable (included) EC/TDS Probe platinum, four-ring EC/TDS probe with and 1 m (3.3’) cable (included) Temperature Probe T stainless steel temperature probe with 1 m (3.3’) cable (included) Logging Type Automatic, Manual, AutoHold Logging Memory Up to 100 lots, 50,000 records max/lot; maximum 100,000 data points / channel Logging Interval 14 selectable between 1 second and 180 minutes Connectivity Opto-isolated USB GLP yes (GLP Channel 1: Electrode offset / slope, calibration points, calibration time stamp, GLP Channel 2: Probe cell constant / offset, reference temperature, compensation coefficient, calibration points, calibration time stamp) Calibration Timeout Reminder yes USP Compliant USP <645> Application Profiles Up to 10 (5 for each) Display Color Graphic LCD 240 x 320 pixels, 8 keys capacitive touch keyboard Power Supply 12 VDC adapter (included) Environment 0 to 50°C (32 to 122°F; 273 to 323 K), RH max 95% non-condensing Dimensions 160 x 231 x 94 mm (6.3 x 9.1 x 3.7”) |  |  |
| 4 | Digital Balance Electronic analytical balance with built-in, motorized calibration weight, dynamic temperature compensation, backlit 8 segment display, two large tare keys, stability indicator, 4 user- selectable filter levels, plus optimized display update rate ======================================== Capacity 320 g Readability 0.1 mg Tare range (subtractiv) 320 g Response time (avg.) 3 s Repeatability <=± 0.2 mg Linearity <=± 0.3 mg ======================================== Pan (inner diameter)* 80 mm Weighing chamber (WxDxH) 174x181x240 mm Balance housing (WxDxH) 213x342x340 mm Net weight approx. 6.5 kg *) Triangular weighing pan shape. = diameter of the inner circle ======================================== Standard features/Equipment supplied - Motorized calibration weight - Bidirectional RS-232 data interface port - ISP/GLP-compliant printing/recording of weighing and calibration data when a printer or computer is connected to the balance - Hanger for below-balance weighing - Overload protection |  |  |

Note: All the bidders are required to mention the details of their product being offered by them in the Technical proposal and also clearly mention the name & relevant major specifications of their offered product while quoting the financial bid as well. Mere reproduction of our tender documents will not serve the purpose and the bid may be liable to be rejected by the procuring agency in such cases.

Terms & Conditions

- All material supplied must be brand new strictly conforming to the given specifications .Old, reconditioned or refurbished equipment shall not be acceptable.

- Only certified dealers/distributors of the following manufacturers are eligible: A standard company from UK, USA, Japan, Singapore, Korean and Europe etc..

- Prices should be FOR delivery to the Cholistan Institute of Desert Studies, The Islamia University of

Bahawalpur. If the items supplied are not according to the required specification/make it will have to be

replaced by the firms on  their own cost.

- Offer must be supported with comprehensive technical literature and specifications in original (English) for the

materials/goods offered.

- Validity of rate should be for 90 days from the date of opening of tenders.

- The vendors will be responsible for any damages during Transit/Delivery. They will also be responsible for

any accident and their consequent damages.

Signature:	______________________

Name:		______________________

Designation:	______________________

Date:		______________________

Attachments:

Earnest Money draft 			(Yes/No)

Affidavit for non black listing 	(Yes/No)

Bid Validity 			(Yes/No)

Signed terms & conditions 		(Yes/No)

Note:  Bid shall be signed by the bidder/authorized person for bidder.

The Islamia University of Bahawalpur

PROCUREMENT OF LAB EQUIPMENTS FOR PHYSICS

TENDER-G FORM

- Name of Firm: __________________________________________________________________

- Mailing Address:_________________________________________________________________

3.	Phone No:	__________________ 4. Fax No: ______________________________________

5.   Tender Fee Challan No. &amount_____________CDR No.& Amount______________________

6.	General Sale Tax No:______________________  7. Income Tax No.________________________

8.   Professional Tax No:	 ___________________________________________________________

| 1 | Beaker 2 Liter Pyrex/Awaki/China | 20 |
| --- | --- | --- |
| 2 | Beaker 1 Liter Pyrex/Awaki/China | 30 |
| 3 | Beaker 500 ml Pyrex/Awaki/China | 30 |
| 4 | Beaker 250 ml Pyrex/Awaki/China | 200 |
| 5 | Beaker 100 ml Pyrex/Awaki/China | 200 |
| 6 | Falcon tubes 10 ml Pyrex/Awaki/China | 5 Packets (50 each) |
| 7 | Falcon Tubes 50 ml Pyrex/Awaki/China | 5 Packets (50 each) |
| 8 | Measuring Cylinder 100 ml China | 100 |
| 9 | Beaker 5 liter China | 10 |
| 10 | Measuring Cylinder 10 ml China | 50 |
| 11 | Conical Flask 250 ml China | 50 |
| 12 | Petridish Pair (4 Inch) China | 100 |
| 13 | Eppendorph Tubes (1.5 ml) China | 24 Packets (100 each) |
| 14 | Glass slides China | 200 Packets |
| 15 | Glass Covers China | 50 Packets |
| 16 | Pestle & Mortar (5 Inch) China | 20 |
| 17 | Funnel (4 Inch) China | 50 |
| 18 | Test Tube(20ml) China | 3000 |
| 19 | Test Tube Stand Steel China | 50 |
| 20 | Pipette 1 ml China | 50 |
| 21 | Pipette 5 ml China | 50 |
| 22 | Pipette 10 ml China | 100 |
| 23 | Still Head Adapter 19/26+ Stopper 19/26 Pyrex/Awaki/Chine | 24 |
| 24 | Round Button Flask 19/26 500ml Pyrex/Awaki/China | 12 |
| 25 | Round Button Flask 19/26 250ml Pyrex/Awaki/China | 12 |
| 26 | Round Button Flask 19/26 100ml Pyrex/Awaki/China | 12 |
| 27 | Magnetic Stirrer bar (1 inch and ½ inch) China | 24 |
| 28 | Iron Stand (Complete set) China | 24 |
| 29 | Condenser 19/26 China | 24 |
| 30 | Burner China | 24 |
| 31 | Tripod Stand China | 100 |
| 32 | Spatula China | 100 |
| 33 | Receiving Adaptor 19/26 Pyrex/Awaki/China | 24 |
| 34 | Round Button Flask 29/32 1 Liter Pyrex/Awaki/China | 10 |
| 35 | Receiving Flask 19/26 500 ml Pyrex/Awaki/China | 10 |
| 36 | TLC Tank China | 24 |
| 37 | Reagent Bottle 250ml China | 50 |
| 38 | Capillary Tubes China | 24 Packets |
| 39 | Test Tube Holder China | 50 |
| 40 | Whatman Filter Paper (40,41 and 42) China | 30 |
| 41 | Aluminum Foil Diamond | 50 |
| 42 | Quartz UV Cell Pyrex/Awaki | 10 |
| 43 | Cellulose Membrane Filter (0.45 micro) Pyrex/Awaki | 12 Packets |
| 44 | China Dish (6 Inches) China | 50 |
| 45 | Centrifuge Tubes (Glass) China | 200 |

Note: All the bidders are required to mention the details of their product being offered by them in the Technical proposal and also clearly mention the name & relevant major specifications of their offered product while quoting the financial bid as well. Mere reproduction of our tender documents will not serve the purpose and the bid may be liable to be rejected by the procuring agency in such cases.

Terms & Conditions

- All material supplied must be brand new strictly conforming to the given specifications .Old, reconditioned or refurbished equipment shall not be acceptable.

- Only certified dealers/distributors of the following manufacturers are eligible: A standard company from UK, USA, Japan, Singapore, Korean and Europe etc..

- Prices should be FOR delivery to the Cholistan Institute of Desert Studies, The Islamia University of

Bahawalpur. If the items supplied are not according to the required specification/make it will have to be

replaced by the firms on  their own cost.

- Offer must be supported with comprehensive technical literature and specifications in original (English) for the

materials/goods offered.

- Validity of rate should be for 90 days from the date of opening of tenders.

- The vendors will be responsible for any damages during Transit/Delivery. They will also be responsible for

any accident and their consequent damages.

Signature:	______________________

Name:		______________________

Designation:	______________________

Date:		______________________

Attachments:

Earnest Money draft 			(Yes/No)

Affidavit for non black listing 	(Yes/No)

Bid Validity 			(Yes/No)

Signed terms & conditions 		(Yes/No)

Note:  Bid shall be signed by the bidder/authorized person for bidder.

The Islamia University of Bahawalpur

PROCUREMENT OF LAB EQUIPMENTS FOR PHYSICS

TENDER-H FORM

- Name of Firm: __________________________________________________________________

2.	Mailing Address:_________________________________________________________________

3.	Phone No:	__________________ 4. Fax No: ______________________________________

5.   Tender Fee Challan No. &amount_____________CDR No.& Amount______________________

6.	General Sale Tax No:______________________  7. Income Tax No.________________________

8.   Professional Tax No:	 ___________________________________________________________

| 01 | Acetonitrile (HPLC Grade) Merck/BDH/Sigma | 05 Liters |
| --- | --- | --- |
| 02 | Methanol (HPLC Grade) Merck/BDH/Sigma | 05 Liters |
| 03 | Chloroform (Analytic Grade) Merck/BDH/Sigma | 2.5 Liters |
| 04 | Falcon Tube (15ml) China | 03 Packets |
| 05 | Falcon Tube (50ml) China | 03 Packets |
| 06 | Appendorph (Tube 1.5 ml) China | 03 Packets |
| 07 | MageticStirreer (1/2 inch =3 1 inch =1) China | 04 Nons. |
| 08 | Adjustable sucker China | 04 Nos. |
| 09 | N. Butanol (Commercial) China | 10 Liters |
| 10 | Methanol (Commercial) Merck/BDH/China | 200 Liters |
| 11 | Ethanol (Commercial) Merck/BDH/China | 200 Liters |
| 12 | N. Betanol (Commercial) Merck/BDH/China | 200 Liters |
| 13 | N. hexane (Commercial) Merck/BDH/China | 200 Liters |
| 14 | Chloroform (Commercial) Merck/BDH/China | 200 Liters |

Note: All the bidders are required to mention the details of their product being offered by them in the Technical proposal and also clearly mention the name & relevant major specifications of their offered product while quoting the financial bid as well. Mere reproduction of our tender documents will not serve the purpose and the bid may be liable to be rejected by the procuring agency in such cases.

Terms & Conditions

- All material supplied must be brand new strictly conforming to the given specifications .Old, reconditioned or refurbished equipment shall not be acceptable.

- Only certified dealers/distributors of the following manufacturers are eligible: A standard company from UK, USA, Japan, Singapore, Korean and Europe etc..

- Prices should be FOR delivery to the Cholistan Institute of Desert Studies, The Islamia University of

Bahawalpur. If the items supplied are not according to the required specification/make it will have to be

replaced by the firms on  their own cost.

- Offer must be supported with comprehensive technical literature and specifications in original (English) for the

materials/goods offered.

- Validity of rate should be for 90 days from the date of opening of tenders.

- The vendors will be responsible for any damages during Transit/Delivery. They will also be responsible for

any accident and their consequent damages.

Signature:	______________________

Name:		______________________

Designation:	______________________

Date:		______________________

Attachments:

Earnest Money draft 			(Yes/No)

Affidavit for non black listing 	(Yes/No)

Bid Validity 			(Yes/No)

Signed terms & conditions 		(Yes/No)

Note:  Bid shall be signed by the bidder/authorized person for bidder.